## Slide 1
TITLE Distributed Generation System Using Hybrid Renewable Energy Sources.
Presented By
Hrithik Vel .B (913119105022)
Jey Vishnu V.BA (913119105028)
Vijay Krishna T.K.B (913119105304)
Guided By : Dr.S.Chellam M.E,Ph.D AP III/Dept of EEE, VCET
Date : 29.03.2023 Wednesday.
VELAMMAL COLLEGE OF ENGINEERING AND TECHNOLOGY
FIRST REVIEW PRESENTATION

## Slide 2: Abstract
A new, hybrid integrated topology, fed by photovoltaic (PV) and fuel cell (FC) sources and suitable for distributed generation applications, is proposed. It works as an uninterruptible power source that is able to feed a certain minimum amount of power into the grid under all conditions.
Photovoltaic source is utilized as the main power and runs very near to its Maximum Power Point, while the fuel cell section serves merely as a DC supply and feeds just the power that is needed to make up the difference. The integrated approach improves the overall power level that is supplied because of the presence of the fuel cell in parallel with the photovoltaic source.

## Slide 3: Introduction
Hybrid power systems are those that generate electricity from two or more sources, usually renewable, sharing a single connection point. Although the addition of powers of hybrid generation.
The integration of different types of energy sources(non conventional energy sources) into a Distributed Generation system is called a hybrid distributed generation system (HDGS).

## Slide 4: Problem Identification
One of the problems with this system is that, at very low insolation levels, the PV side dc–dc converter must be cut off to prevent its inefficient operation. Thus, at small power levels, generation by the PV source remains unutilized. This may be acceptable for high power applications, but could be a matter of concern for residential or medium-power installation.If the function of the PV side dc–dc converter is merged with the inversion stage, even a small fraction of power generated during low insolation can be utilized.

## Slide 5: LITERATURE SURVEY
S.NO | JOURNAL PAPER | AUTHOR | TITLE | DESCRIPTION
1 | IEEE TRANSACTIONS ON ENERGY CONVERSION, VOL. 23, NO. 2. (JUNE 2008) | Sachin Jain and Vivek Agarwal, Senior Member, IEEE | An Integrated Hybrid Power Supply for Distributed Generation Applications Fed by Nonconventional Energy Sources | This hybrid integrated topology, fed by photovoltaic (PV) and fuel cell (FC) sources and suitable for distributed generation applications, is proposed. It works as an uninterruptible power source that is able to feed a certain minimum amount of power into the grid under all conditions.
2 | International Journal of Mechanical Engineering. (JULY 2022) | N.V.KISHORE KUMAR 1, K. KRISHNA REDDY 2, S .R.RAMYA 3, P.ASWINI 4, CR.PAVAN KUMAR 5, P.INDIRA 6, S.DIVYASREE | AN INTEGRATED HYBRID POWER SUPPLY FOR DISTRIBUTED GENERATION APPLICATIONS FED BY NON CONVENTIONAL ENERGY SOURCES | The proposed management system is designed to manage the power flow between the hybrid power system in order to satisfy the load requirements based on artificial neural network (ANN) and fuzzy logic controllers.
3 | Journal of Electrical Engineering and Automation (ISSN: 2582-3051) (SEPTEMBER 2022) | S. Kayalvizhi1*, K. Senthil Kumar2, M. Sindu3, S. Muminthaj. | Hybrid Cascaded Inverter-Based Integrated Hybrid Power Supply Using Nonconventional Energy Sources | The Photovoltaic and Fuel Cell source are used to power the hybrid integrated topology's power supply. Photovoltaic source is utilized as the main power and runs very near to its Maximum Power Point, while the fuel cell section serves merely as a DC supply and feeds just the power that is needed to make up the difference.

## Slide 6: Block Diagram
PV ARRAY
INVERTER(BOOSTING+MPPT+INVERSION)
DC/DC BUCK CONVERTER
DC/DC BUCK BOOST CONVERTER
FUEL CELL
GRID
WIND TURBINE

## Slide 7: WORK ACCOMPLISHED
We have collected base paper for our project and studied about various hybrid topology to get better ideas and results.
We have installed the necessary softwares for our project.

## Slide 9: Existing System
Among the earlier work have proposed an HDGS configuration. It consists of two inverters, operating in parallel, whose outputs are tied to the grid through a single, multi winding, step-up transformer.
The drawback with this otherwise elegant scheme is that it does not utilize the available sources efficiently as maximum power point tracking (MPPT) is not implemented.
Existing configuration uses an H-bridge inverter topology for interfacing with the grid, which either needs a line frequency bulky transformer at the output or high dc link voltage at the inverter input.

## Slide 10: References
[1] Sachin Jain and Vivek Agarwal, Senior Member, IEEE-An Integrated Hybrid Power Supply for Distributed Generation Applications Fed by Nonconventional Energy Sources
[2]N.V.Kishore Kumar and K.KrishnaReddy-An Integrated Hybrid Power Supply For Distributed Generations Applications Fed By Non Conventional Energy Sources-PP.0974-5823-Volume:07 Issue:07-july 2022.
[3]S.Kayalvizhi and K Senthil Kumar-Hybrid Cascaded Inverter Based Integrated Hybrid Power Supply Using No convention Energy Sources-PP.2582-3051-Volume:04 Issue:-Sep-2022.
[4] N. Kato, K. Kurozumi, N. Susuld, and S. Muroyama, “Hybrid powersupply system composed of photovoltaic and fuel-cell systems,” in Telecommun. Energy Conf., Jpn, Oct., 2001, pp. 631–635.
[5] K. Rajashekara, “Hybrid fuel-cell strategies for clean power generation,” IEEE Trans. Ind. Appl., vol. 41, no. 3, pp. 682–689, May/Jun. 2005.

## Slide 11: THANK YOU